## +U1
Terminal diagram
Strip designation: | +U1
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  |  |  | N | =GD1+U1-F2 | 1 | =GD1+U1&EFS/100.1
|  |  |  | PE |  |  | =GD1+U1&EFS/100.1

## +U1-X10
Terminal diagram
Strip designation: | +U1-X10
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X100 | 0 | 0 | =GD1+U1 | 1 | =GD1+U1&EFS/900.3
|  |  |  | 1 |  |  | =GD1+U1&EFS/900.4
|  |  |  | 2 |  |  | =GD1+U1&EFS/900.4
|  | +U1-X100 | 4 | 3 | =GD1+U1-K11 | 0N | =GD1+U1&EFS/900.4
|  | +U1-X100 | 3 | 4 | =GD1+U1-K11 | IN | =GD1+U1&EFS/900.4
|  |  |  | 5 |  |  | =GD1+U1&EFS/900.4
|  |  |  | 6 |  |  | =GD1+U1&EFS/900.5
|  |  |  | 7 |  |  | =GD1+U1&EFS/900.5

## +U1-X11
Terminal diagram
Strip designation: | +U1-X11
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X14 | 1 | 1 | =GD1+U1-B1.1 | 1 | =GD1+U1&EFS/701.5
|  | +U1-X14 | 2 | 1 | =GD1+U1-B1.1 | 3 | =GD1+U1&EFS/701.5
|  | =GD1+U1-K2 | B:11 | 1 | =GD1+U1-B1.1 | 2 | =GD1+U1&EFS/701.6
|  |  |  | 1 | =GD1+U1-B1.1 | 4 | =GD1+U1&EFS/701.6
|  |  |  | 2 | =GD1+U1-B2.1 | 1 | =GD1+U1&EFS/701.6
|  |  |  | 2 | =GD1+U1-B2.1 | 3 | =GD1+U1&EFS/701.7
|  | =GD1+U1-K2 | B:13 | 2 | =GD1+U1-B2.1 | 2 | =GD1+U1&EFS/701.7
|  |  |  | 2 | =GD1+U1-B2.1 | 4 | =GD1+U1&EFS/701.7
|  |  |  | 3 | =GD1+U1-B3.1 | 1 | =GD1+U1&EFS/701.8
|  |  |  | 3 | =GD1+U1-B3.1 | 3 | =GD1+U1&EFS/701.8
|  | =GD1+U1-K2 | B:15 | 3 | =GD1+U1-B3.1 | 2 | =GD1+U1&EFS/701.8
|  |  |  | 3 | =GD1+U1-B3.1 | 4 | =GD1+U1&EFS/701.8
|  | =GD1+U1-F12 | 2 | 4 | =GD1+U1-B4.1 | 1 | =GD1+U1&EFS/701.9
|  | =GD1+U1-F12 | 4 | 4 | =GD1+U1-B4.1 | 3 | =GD1+U1&EFS/701.9
|  | =GD1+U1-K2 | B:17 | 4 | =GD1+U1-B4.1 | 2 | =GD1+U1&EFS/701.9
|  |  |  | 4 | =GD1+U1-B4.1 | 4 | =GD1+U1&EFS/701.9
|  | =GD1+U1-F12 | 2 | 5 | =GD1+U1-B5 | 1 | =GD1+U1&EFS/702.0
|  | =GD1+U1-F12 | 4 | 5 | =GD1+U1-B5 | 3 | =GD1+U1&EFS/702.0
|  |  |  | 5 | =GD1+U1-B5 | 2 | =GD1+U1&EFS/702.0
|  | =GD1+U1-K3 | A:2 | 5 | =GD1+U1-B5 | 4 | =GD1+U1&EFS/702.1
|  |  |  | 6 | =GD1+U1-B6 | 1 | =GD1+U1&EFS/702.1
|  |  |  | 6 | =GD1+U1-B6 | 3 | =GD1+U1&EFS/702.1
|  |  |  | 6 | =GD1+U1-B6 | 2 | =GD1+U1&EFS/702.2
|  | =GD1+U1-K3 | A:4 | 6 | =GD1+U1-B6 | 4 | =GD1+U1&EFS/702.2
|  |  |  | 7 | =GD1+U1-B7 | 1 | =GD1+U1&EFS/702.2
|  |  |  | 7 | =GD1+U1-B7 | 3 | =GD1+U1&EFS/702.3
|  |  |  | 7 | =GD1+U1-B7 | 2 | =GD1+U1&EFS/702.3
|  | =GD1+U1-K3 | A:6 | 7 | =GD1+U1-B7 | 4 | =GD1+U1&EFS/702.3
|  |  |  | 8 | =GD1+U1-B8 | 1 | =GD1+U1&EFS/702.4
|  |  |  | 8 | =GD1+U1-B8 | 3 | =GD1+U1&EFS/702.4
|  |  |  | 8 | =GD1+U1-B8 | 2 | =GD1+U1&EFS/702.4
|  | =GD1+U1-K3 | A:8 | 8 | =GD1+U1-B8 | 4 | =GD1+U1&EFS/702.4
|  |  |  | 9 | =GD1+U1-B9 | 1 | =GD1+U1&EFS/702.5
|  |  |  | 9 | =GD1+U1-B9 | 3 | =GD1+U1&EFS/702.5
|  |  |  | 9 | =GD1+U1-B9 | 2 | =GD1+U1&EFS/702.6
|  | =GD1+U1-K3 | A:11 | 9 | =GD1+U1-B9 | 4 | =GD1+U1&EFS/702.6
|  |  |  | 10 | =GD1+U1-B10 | 1 | =GD1+U1&EFS/702.6
|  |  |  | 10 | =GD1+U1-B10 | 3 | =GD1+U1&EFS/702.7
|  |  |  | 10 | =GD1+U1-B10 | 2 | =GD1+U1&EFS/702.7
|  | =GD1+U1-K3 | A:13 | 10 | =GD1+U1-B10 | 4 | =GD1+U1&EFS/702.7
|  |  |  | 11 | =GD1+U1-B11 | 1 | =GD1+U1&EFS/702.8
|  |  |  | 11 | =GD1+U1-B11 | 3 | =GD1+U1&EFS/702.8
|  |  |  | 11 | =GD1+U1-B11 | 2 | =GD1+U1&EFS/702.8
|  | =GD1+U1-K3 | A:15 | 11 | =GD1+U1-B11 | 4 | =GD1+U1&EFS/702.8
|  |  |  | 12 | =GD1+U1-B12 | 1 | =GD1+U1&EFS/702.9
|  |  |  | 12 | =GD1+U1-B12 | 3 | =GD1+U1&EFS/702.9
|  |  |  | 12 | =GD1+U1-B12 | 2 | =GD1+U1&EFS/702.9
|  | =GD1+U1-K3 | A:17 | 12 | =GD1+U1-B12 | 4 | =GD1+U1&EFS/702.9

## +U1-X12
Terminal diagram
Strip designation: | +U1-X12
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | =GD1+U1 | 1 | 0 | +U2-X21 | 0 | =GD1+U1&EFS/700.0
|  | =GD1+U1-F12 | 2 1 | 1 | +U2-X21 | 1 | =GD1+U1&EFS/700.0
|  | =GD1+U1-F12 | 4 2 | 2 | +U2-X21 | 2 | =GD1+U1&EFS/700.0
|  | =GD1+U1-K5 | A:1 | 3 | +U2-X21 | 3 | =GD1+U1&EFS/700.0
|  | =GD1+U1-K2 | A:2 | 4 | +U2-X21 | 4 | =GD1+U1&EFS/700.1
|  | =GD1+U1-K5 | A:3 | 5 | +U2-X21 | 5 | =GD1+U1&EFS/700.2
|  | =GD1+U1-K2 | A:4 | 6 | +U2-X21 | 6 | =GD1+U1&EFS/700.2
|  | =GD1+U1-K5 | A:5 | 7 | +U2-X21 | 7 | =GD1+U1&EFS/700.3
|  | =GD1+U1-K2 | A:6 | 8 | +U2-X21 | 8 | =GD1+U1&EFS/700.3
|  | =GD1+U2-S24 | 11 | 9 | =GD1+U1-K11 | IP | =GD1+U1&EFS/901.0
|  | =GD1+U1-K2 | A:8 | 13 | =GD1+U2-S24 | 34 | =GD1+U1&EFS/901.1
|  | =GD1+U1-K11 | I6 | 14 | +U2.U2-X21 | 9 | =GD1+U1&EFS/901.2
|  | =GD1+U1-K11 | Q2 | 15 | +U2.U2-X21 | 10 | =GD1+U1&EFS/901.3
|  | =GD1+U2-S24 | 12 | 10 | +U1-X13 | 9 | =GD1+U1&EFS/901.1
|  | =GD1+U2-S24 | 21 | 11 | =GD1+U1-K11 | X2 | =GD1+U1&EFS/901.1
|  | =GD1+U2-S24 | 22 | 12 | +U1-X13 | 11 | =GD1+U1&EFS/901.1

## +U1-X13
Terminal diagram
Strip designation: | +U1-X13
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | =GD1+U1 | 1 | 0 | +U3-X31 | 0 | =GD1+U1&EFS/700.5
|  | +U1-X12 | 1 | 1 | +U3-X31 | 1 | =GD1+U1&EFS/700.5
|  | +U1-X12 | 2 | 2 | +U3-X31 | 2 | =GD1+U1&EFS/700.5
|  | =GD1+U1-K5 | A:10 | 3 | +U3-X31 | 3 | =GD1+U1&EFS/700.6
|  | =GD1+U1-K2 | A:11 | 4 | +U3-X31 | 4 | =GD1+U1&EFS/700.6
|  | =GD1+U1-K5 | A:12 | 5 | +U3-X31 | 5 | =GD1+U1&EFS/700.7
|  | =GD1+U1-K2 | A:13 | 6 | +U3-X31 | 6 | =GD1+U1&EFS/700.7
|  | =GD1+U1-K5 | A:14 | 7 | +U3-X31 | 7 | =GD1+U1&EFS/700.8
|  | =GD1+U1-K2 | A:15 | 8 | +U3-X31 | 8 | =GD1+U1&EFS/700.8
|  | =GD1+U3-S34 | 11 | 9 | +U1-X12 | 10 | =GD1+U1&EFS/901.4
|  | =GD1+U1-K2 | A:17 | 13 | =GD1+U3-S34 | 34 | =GD1+U1&EFS/901.4
|  | =GD1+U1-K11 | I6 | 14 | +U3.U3-X31 | 9 | =GD1+U1&EFS/901.6
|  | =GD1+U1-K11 | Q2 | 15 | +U3.U3-X31 | 10 | =GD1+U1&EFS/901.6
|  | =GD1+U3-S34 | 12 | 10 | +U1-X16 | 5 | =GD1+U1&EFS/901.4
|  | =GD1+U3-S34 | 21 | 11 | +U1-X12 | 12 | =GD1+U1&EFS/901.4
|  | =GD1+U3-S34 | 22 | 12 | +U1-X16 | 7 | =GD1+U1&EFS/901.4

## +U1-X14
Terminal diagram
Strip designation: | +U1-X14
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | =GD1+U1-F12 | 2 1 | 1 | +U4-X41 | 1 | =GD1+U1&EFS/701.3
|  | =GD1+U1-F12 | 4 1 | 2 | +U4-X41 | 1 | =GD1+U1&EFS/701.3
|  | =GD1+U1-K2 | B:6 | 3 | +U4-X41 | 1 | =GD1+U1&EFS/701.3
|  | =GD1+U1-K2 | B:8 | 4 | +U4-X41 | 2 | =GD1+U1&EFS/701.4

## +U1-X15
Terminal diagram
Strip designation: | +U1-X15
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | =GD1+U1-F12 | 2 | 1 | +U5-X51 | 3 | =GD1+U1&EFS/703.0
|  | =GD1+U1-F12 | 4 | 2 | +U5-X51 | 3 | =GD1+U1&EFS/703.0
|  | =GD1+U1-K3 | B:2 | 3 | +U5-X51 | 3 | =GD1+U1&EFS/703.1
|  | =GD1+U1-K3 | B:4 | 4 | +U5-X51 | 4 | =GD1+U1&EFS/703.2
|  | =GD1+U1-K3 | B:6 | 5 | +U5-X51 | 5 | =GD1+U1&EFS/703.3
|  | =GD1+U1-K3 | B:8 | 6 | +U5-X51 | 6 | =GD1+U1&EFS/703.4
|  | =GD1+U1-K3 | B:11 | 7 | +U5-X51 | 7 | =GD1+U1&EFS/703.6
|  | =GD1+U1-K3 | B:13 | 8 | +U5-X51 | 8 | =GD1+U1&EFS/703.7
|  | =GD1+U1-K3 | B:15 | 9 | +U5-X51 | 9 | =GD1+U1&EFS/703.8
|  | +U5-X51 | 14 | 14 | =GD1+U1-K5 | B:1 | =GD1+U1&EFS/800.0
|  | +U5-X51 | 14 | 15 | =GD1+U1-K5 | B:3 | =GD1+U1&EFS/800.1

## +U1-X16
Terminal diagram
Strip designation: | +U1-X16
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | =GD1+U1-F12 | 2 | 1 | =GD1+U1-S41 | 33 | =GD1+U1&EFS/901.7
|  | =GD1+U1-F12 | 4 | 2 | =GD1+U1-S41 | A2 | =GD1+U1&EFS/901.8
|  | =GD1+U1-K2 | B:2 | 3 | =GD1+U1-S41 | 34 | =GD1+U1&EFS/901.7
|  | =GD1+U1-K5 | A:7 | 4 | =GD1+U1-S41 | A1 | =GD1+U1&EFS/901.8
|  | =GD1+U1-S41 | 11 | 5 | +U1-X13 | 10 | =GD1+U1&EFS/901.7
|  | =GD1+U1-S41 | 12 | 6 | +U1-X17 | 5 | =GD1+U1&EFS/901.7
|  | =GD1+U1-S41 | 21 | 7 | +U1-X13 | 12 | =GD1+U1&EFS/901.8
|  | =GD1+U1-S41 | 22 | 8 | +U1-X17 | 7 | =GD1+U1&EFS/901.8

## +U1-X17
Terminal diagram
Strip designation: | +U1-X17
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | =GD1+U1-F12 | 2 | 1 | =GD1+U1-S51 | 33 | =GD1+U1&EFS/901.9
|  | =GD1+U1-F12 | 2 | 1 | +U7-X71 | 1 | =GD1+U1&EFS/902.3
|  | =GD1+U1-F12 | 4 | 2 | =GD1+U1-S51 | A2 | =GD1+U1&EFS/901.9
|  | =GD1+U1-F12 | 4 | 2 | +U7-X71 | 2 | =GD1+U1&EFS/902.3
|  | =GD1+U1-K2 | B:4 | 3 | =GD1+U1-S51 | 34 | =GD1+U1&EFS/901.9
|  | =GD1+U1-K12 | I1 | 3 | +U7-X71 | 3 | =GD1+U1&EFS/902.3
|  | =GD1+U1-K5 | A:16 | 4 | =GD1+U1-S51 | A1 | =GD1+U1&EFS/901.9
|  | =GD1+U1-K12 | I2 | 4 | +U7-X71 | 4 | =GD1+U1&EFS/902.4
|  | =GD1+U1 |  | 5 | +U7-X71 | 5 | =GD1+U1&EFS/902.4
|  | =GD1+U1-S51 | 11 | 5 | +U1-X16 | 6 | =GD1+U1&EFS/901.9
|  | =GD1+U1-K4 | A:4 | 6 | +U7-X71 | 6 | =GD1+U1&EFS/902.4
|  |  |  | 7 | +U7-X71 | 7 | =GD1+U1&EFS/902.4
|  |  |  | 8 | +U7-X71 | 8 | =GD1+U1&EFS/902.4
|  |  |  | 9 | +U7-X71 | 9 | =GD1+U1&EFS/902.5
|  |  |  | 10 | +U7-X71 | 10 | =GD1+U1&EFS/902.5
|  |  |  | 11 | +U7-X71 | 11 | =GD1+U1&EFS/902.5
|  |  |  | 12 | +U7-X71 | 12 | =GD1+U1&EFS/902.5
|  | =GD1+U1-S51 | 12 | 6 | =GD1+U1-K11 | I1 | =GD1+U1&EFS/901.9
|  | =GD1+U1-S51 | 21 | 7 | +U1-X16 | 8 | =GD1+U1&EFS/901.9
|  | =GD1+U1-S51 | 22 | 8 | =GD1+U1-K11 | I2 | =GD1+U1&EFS/901.9

## +U1-X100
Terminal diagram
Strip designation: | +U1-X100
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X10 | 0 | 0 | =GD1+U100 | 1 | =GD1+U1&EFS/900.8
|  |  |  | 1 |  |  | =GD1+U1&EFS/900.8
|  |  |  | 2 |  |  | =GD1+U1&EFS/900.8
|  | +U1-X10 | 4 | 3 | =GD1+U1-K21 | Op | =GD1+U1&EFS/900.8
|  | +U1-X10 | 3 | 4 | =GD1+U1-K21 | IP | =GD1+U1&EFS/900.9
|  |  |  | 5 |  |  | =GD1+U1&EFS/900.9
|  |  |  | 6 |  |  | =GD1+U1&EFS/900.9
|  |  |  | 7 |  |  | =GD1+U1&EFS/900.9

## +U2-X21
Terminal diagram
Strip designation: | +U2-X21
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X12 | 0 | 0 |  |  | =GD1+U1&EFS/700.0
|  | +U1-X12 | 1 | 1 | =GD1+U2-S21 | 1 | =GD1+U1&EFS/700.0
|  |  |  | 1 | =GD1+U2-S22 | 1 | =GD1+U1&EFS/700.1
|  | +U2.U2-X21 | 1 | 1 | =GD1+U2-S23 | 1 | =GD1+U1&EFS/700.2
|  | +U1-X12 | 2 | 2 | =GD1+U2-S21 | 3 | =GD1+U1&EFS/700.0
|  |  |  | 2 | =GD1+U2-S22 | 3 | =GD1+U1&EFS/700.1
|  | +U2.U2-X21 | 2 | 2 | =GD1+U2-S23 | 3 | =GD1+U1&EFS/700.3
|  | +U1-X12 | 3 | 3 | =GD1+U2-S21 | 2 | =GD1+U1&EFS/700.0
|  | +U1-X12 | 4 | 4 | =GD1+U2-S21 | 4 | =GD1+U1&EFS/700.1
|  | +U1-X12 | 5 | 5 | =GD1+U2-S22 | 2 | =GD1+U1&EFS/700.2
|  | +U1-X12 | 6 | 6 | =GD1+U2-S22 | 4 | =GD1+U1&EFS/700.2
|  | +U1-X12 | 7 | 7 | =GD1+U2-S23 | 2 | =GD1+U1&EFS/700.3
|  | +U1-X12 | 8 | 8 | =GD1+U2-S23 | 4 | =GD1+U1&EFS/700.3

## +U3-X31
Terminal diagram
Strip designation: | +U3-X31
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X13 | 0 | 0 |  |  | =GD1+U1&EFS/700.5
|  | +U1-X13 | 1 | 1 | =GD1+U3-S31 | 1 | =GD1+U1&EFS/700.5
|  | +U1-X13 | 1 | 1 | =GD1+U3-S32 | 1 | =GD1+U1&EFS/700.6
|  | +U3.U3-X31 | 1 | 1 |  |  | =GD1+U1&EFS/700.8
|  | +U1-X13 | 2 | 2 | =GD1+U3-S31 | 3 | =GD1+U1&EFS/700.5
|  | +U1-X13 | 2 | 2 | =GD1+U3-S32 | 3 | =GD1+U1&EFS/700.7
|  | +U3.U3-X31 | 2 | 2 |  |  | =GD1+U1&EFS/700.8
|  | +U1-X13 | 3 | 3 | =GD1+U3-S31 | 2 | =GD1+U1&EFS/700.6
|  | +U1-X13 | 4 | 4 | =GD1+U3-S31 | 4 | =GD1+U1&EFS/700.6
|  | +U1-X13 | 5 | 5 | =GD1+U3-S32 | 2 | =GD1+U1&EFS/700.7
|  | +U1-X13 | 6 | 6 | =GD1+U3-S32 | 4 | =GD1+U1&EFS/700.7
|  | +U1-X13 | 7 | 7 |  |  | =GD1+U1&EFS/700.8
|  | +U1-X13 | 8 | 8 |  |  | =GD1+U1&EFS/700.8

## +U4-X41
Terminal diagram
Strip designation: | +U4-X41
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X14 | 1 | 1 | =GD1+U1-B13.1 | 1 | =GD1+U1&EFS/701.3
|  | +U1-X14 | 2 | 1 | =GD1+U1-B13.1 | 3 | =GD1+U1&EFS/701.3
|  | +U1-X14 | 3 | 1 | =GD1+U1-B13.1 | 2 | =GD1+U1&EFS/701.3
|  |  |  | 1 | =GD1+U1-B13.1 | 4 | =GD1+U1&EFS/701.3
|  |  |  | 2 | =GD1+U1-B14.1 | 1 | =GD1+U1&EFS/701.4
|  |  |  | 2 | =GD1+U1-B14.1 | 3 | =GD1+U1&EFS/701.4
|  | +U1-X14 | 4 | 2 | =GD1+U1-B14.1 | 2 | =GD1+U1&EFS/701.4
|  |  |  | 2 | =GD1+U1-B14.1 | 4 | =GD1+U1&EFS/701.4

## +U5-X51
Terminal diagram
Strip designation: | +U5-X51
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U1-X15 | 1 | 3 | =GD1+U1-B15.1 | 1 | =GD1+U1&EFS/703.0
|  | +U1-X15 | 2 | 3 | =GD1+U1-B15.1 | 3 | =GD1+U1&EFS/703.0
|  | +U1-X15 | 3 | 3 | =GD1+U1-B15.1 | 2 | =GD1+U1&EFS/703.1
|  |  |  | 3 | =GD1+U1-B15.1 | 4 | =GD1+U1&EFS/703.1
|  |  |  | 4 | =GD1+U1-B16.1 | 1 | =GD1+U1&EFS/703.1
|  |  |  | 4 | =GD1+U1-B16.1 | 3 | =GD1+U1&EFS/703.2
|  | +U1-X15 | 4 | 4 | =GD1+U1-B16.1 | 2 | =GD1+U1&EFS/703.2
|  |  |  | 4 | =GD1+U1-B16.1 | 4 | =GD1+U1&EFS/703.2
|  |  |  | 5 | =GD1+U1-B17.1 | 1 | =GD1+U1&EFS/703.3
|  |  |  | 5 | =GD1+U1-B17.1 | 3 | =GD1+U1&EFS/703.3
|  | +U1-X15 | 5 | 5 | =GD1+U1-B17.1 | 2 | =GD1+U1&EFS/703.3
|  |  |  | 5 | =GD1+U1-B17.1 | 4 | =GD1+U1&EFS/703.3
|  |  |  | 6 | =GD1+U1-B18 | 1 | =GD1+U1&EFS/703.4
|  |  |  | 6 | =GD1+U1-B18 | 3 | =GD1+U1&EFS/703.4
|  | +U1-X15 | 6 | 6 | =GD1+U1-B18 | 2 | =GD1+U1&EFS/703.4
|  |  |  | 6 | =GD1+U1-B18 | 4 | =GD1+U1&EFS/703.4
|  |  |  | 7 | =GD1+U1-B19 | 1 | =GD1+U1&EFS/703.5
|  |  |  | 7 | =GD1+U1-B19 | 3 | =GD1+U1&EFS/703.6
|  | +U1-X15 | 7 | 7 | =GD1+U1-B19 | 2 | =GD1+U1&EFS/703.6
|  |  |  | 7 | =GD1+U1-B19 | 4 | =GD1+U1&EFS/703.6
|  |  |  | 8 | =GD1+U1-B20 | 1 | =GD1+U1&EFS/703.6
|  |  |  | 8 | =GD1+U1-B20 | 3 | =GD1+U1&EFS/703.7
|  |  |  | 8 | =GD1+U1-B20 | 2 | =GD1+U1&EFS/703.7
|  | +U1-X15 | 8 | 8 | =GD1+U1-B20 | 4 | =GD1+U1&EFS/703.7
|  |  |  | 9 | =GD1+U1-B21 | 1 | =GD1+U1&EFS/703.8
|  |  |  | 9 | =GD1+U1-B21 | 3 | =GD1+U1&EFS/703.8
|  |  |  | 9 | =GD1+U1-B21 | 2 | =GD1+U1&EFS/703.8
|  | +U1-X15 | 9 | 9 | =GD1+U1-B21 | 4 | =GD1+U1&EFS/703.8
|  |  |  | 14 |  |  | =GD1+U1&EFS/800.0
|  |  |  | 14 |  |  | =GD1+U1&EFS/800.1
|  | =GD1+U5-?QM-MB1 | x2 | 14 |  |  | =GD1+U1&EFS/800.0
|  | =GD1+U5-?QM-MB1 | x1 | 14 | +U1-X15 | 14 | =GD1+U1&EFS/800.0
|  |  |  | 14 |  |  | =GD1+U1&EFS/800.1
|  | =GD1+U5-?QM-MB2 | x2 | 14 |  |  | =GD1+U1&EFS/800.1
|  | =GD1+U5-?QM-MB2 | x1 | 14 | +U1-X15 | 15 | =GD1+U1&EFS/800.1
|  |  |  | 14 |  |  | =GD1+U1&EFS/800.2

## +U2.U2-X21
Terminal diagram
Strip designation: | +U2.U2-X21
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U2-X21 | 1 | 1 | =GD1+U2-S24 | 33 | =GD1+U1&EFS/901.1
|  |  |  | 1 | =GD1+U2-S25 | 1 | =GD1+U1&EFS/901.2
|  | +U2-X21 | 2 | 2 | =GD1+U2-S25 | 3 | =GD1+U1&EFS/901.2
|  | +U1-X12 | 14 | 9 | =GD1+U2-S25 | 2 | =GD1+U1&EFS/901.2
|  | +U1-X12 | 15 | 10 | =GD1+U2-S25 | 4 | =GD1+U1&EFS/901.3

## +U3.U3-X31
Terminal diagram
Strip designation: | +U3.U3-X31
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  | +U3-X31 | 1 | 1 | =GD1+U3-S34 | 33 | =GD1+U1&EFS/901.4
|  |  |  | 1 | =GD1+U3-S35 | 1 | =GD1+U1&EFS/901.5
|  | +U3-X31 | 2 | 2 | =GD1+U3-S35 | 3 | =GD1+U1&EFS/901.6
|  | +U1-X13 | 14 | 9 | =GD1+U3-S35 | 2 | =GD1+U1&EFS/901.6
|  | +U1-X13 | 15 | 10 | =GD1+U3-S35 | 4 | =GD1+U1&EFS/901.6

## +U7-X71
Terminal diagram
Strip designation: | +U7-X71
Function text | Cable type | Target designation from | Connection | Terminal | Target designation to | Connection | Page / column
|  |  |  | 1 | =GD1+U1-Reer1.TX | 1:1 | =GD1+U1&EFS/902.3
|  | +U1-X17 | 1 | 1 | =GD1+U1-Reer1.RX | 1:1 | =GD1+U1&EFS/902.3
|  | +U1-X17 | 2 | 2 | =GD1+U1-Reer1.TX | 1:3 | =GD1+U1&EFS/902.3
|  | +U1-X17 | 3 | 3 | =GD1+U1-Reer1.RX | 1:3 | =GD1+U1&EFS/902.3
|  | +U1-X17 | 4 | 4 | =GD1+U1-Reer1.RX | 1:4 | =GD1+U1&EFS/902.4
|  | +U1-X17 | 5 | 5 | =GD1+U1-Reer1.RX | 1:9 | =GD1+U1&EFS/902.4
|  | +U1-X17 | 6 | 6 | =GD1+U1-Reer1.RX | 1:12 | =GD1+U1&EFS/902.4
|  | +U1-X17 | 7 | 7 |  |  | =GD1+U1&EFS/902.4
|  | +U1-X17 | 8 | 8 |  |  | =GD1+U1&EFS/902.4
|  | +U1-X17 | 9 | 9 | =GD1+U1-Reer1.TX | 1:5 | =GD1+U1&EFS/902.5
|  | +U1-X17 | 10 | 10 |  |  | =GD1+U1&EFS/902.5
|  | +U1-X17 | 11 | 11 |  |  | =GD1+U1&EFS/902.5
|  | +U1-X17 | 12 | 12 |  |  | =GD1+U1&EFS/902.5